## Sheet1
Option | Results Path | Timestamp | Climate File | Climate Zone | Heating Unmet Hours | Cooling Unmet Hours | Total Energy Use (kBtu) | Energy Use Intensity (kBtu/ft²) | Electricity (kBtu) | Gas (kBtu) | Additional Fuel (kBtu) | District Cooling (kBtu) | District Heating (kBtu) | Heating - Electricity Energy Use (kBtu) | Heating - Gas Energy Use (kBtu) | Heating - Additonal Fuel Energy Use (kBtu) | Heating - District Heating Energy Use (kBtu) | Cooling - Electricity Energy Use (kBtu) | Cooling - District Energy Use (kBtu) | Interior Lighting - Electricity Energy Use (kBtu) | Exterior Lighting - Electricity Energy Use (kBtu) | Interior Equipment - Electricity Energy Use (kBtu) | Interior Equipment - Gas Energy Use (kBtu) | Interior Equipment - Additional Fuel Energy Use (kBtu) | Exterior Equipment - Energy Use (kBtu) | Fans - Electricity Energy Use (kBtu) | Pumps - Electricity Energy Use (kBtu) | Heat Rejection - Electricity Energy Use (kBtu) | Humidification - Electricity Energy Use (kBtu) | Heat Recovery - Electricity Energy Use (kBtu) | Water Systems - Electricity Energy Use (kBtu) | Water Systems - Gas Energy Use (kBtu) | Water Systems - Additional Fuel Energy Use (kBtu) | Water Systems - District Heating Energy Use (kBtu) | Refrigeration - Electricity Energy Use (kBtu) | Generators Electricity Energy Use (kBtu) | Misc 1 - Electricity Energy Use (kBtu) | Misc 2 - Electricity Energy Use (kBtu) | Total Water Use (kGal) | Water Use Intensity (kGal/ft²) | Heat Rejection - Water Use (kGal) | Humidificatopn - Water Use (kGal) | Water System - Water Use (kGal) | Total Energy Cost ($) | Energy Cost Intensity ($/ft²) | Electricity Virtual Rate ($/kBtu) | Gas Virtual Rate ($/kBtu) | Additional Fuel Virtual Rate ($/kBtu) | District Cooling Virtual Rate ($/kBtu) | District Heating Virtual Rate ($/kBtu) | Total Carbon Emissions (kg CO2e) | Carbon Emission Intensity (kg CO2e/ft²) | Electricity Virtual Rate (kg CO2e/kBtu) | Gas Virtual Rate (kg CO2e/kBtu) | Additional Fuel Virtual Rate (kg CO2e/kBtu) | District Cooling Virtual Rate (kg CO2e/kBtu) | District Heating Virtual Rate (kg CO2e/kBtu) | Peak Heating (kBtuh) | Peak Heating (Btuh/ft²) | Peak Heating Hour | Peak Cooling (kBtuh) | Peak Cooling (Btuh/ft²) | Peak Cooling Hour | Peak Electrical Load (W) | Peak Electrical Load Intensity (W/ft²) | Peak Electricity Hour | Conditioned Floor Area (ft²) | Total Floor Area (ft²) | Gross Wall Area (ft²) | Above Ground Gross Wall Area (ft²) | Above Ground North Wall Area (ft²) | Above Ground East Wall Area (ft²) | Above Ground South Wall Area (ft²) | Above Ground East Wall Area (ft²) | North WWR Nominal (%) | East WWR Nominal (%) | South WWR Nominal (%) | West WWR Nominal (%) | Building WWR Actual (%) | North WWR Actual (%) | East WWR Actual (%) | South WWR Actual (%) | West WWR Actual (%) | Gross Roof Area (ft²) | Skylight Roof Ratio (%) | Exterior Wall to Floor Area Ratio | Exterior Roof to Floor Area Ratio | Exterior Envelope to Floor Area Ratio | North Shading Type | North Shading Ratio (%) | West Shading Type | West Shading Ratio (%) | South Shading Type | South Shading Ratio (%) | East Shading Type | East Shading Ratio (%) | Vertical Weighted U-Value (Btu/h·ft²·F) | Vertical Weighted R-Value (ft²·h·F/Btu ) | Wall U-Value (Btu/h·ft²·F) | Wall 2 U-Value (Btu/h·ft²·F) | Roof U-Value (Btu/h·ft²·F) | Exposed Floor U-Value (Btu/h·ft²·F) | Slab on Grade U-Value (Btu/h·ft²·F) | Assembly U-Value (Btu/h·ft²·F) | Glass U-Value (Btu/h·ft²·F) | Glass SHGC | Glass VLT | Glass LSG | Infiltration Rate (CFM/ft² facade) | Lighting Power Density (W/ft²) | Conditioned Lighting Power Density (W/ft²) | Occupant Density (ft²/person) | Conditioned Occupant Density (ft²/person) | Equipment Power Density (W/ft²) | Conditioned Equipment Power Density (W/ft²) | Total Ventilation Air Flow Rate (CFM) | Ventilation Air Flow Rate per Area (CFM/ft²) | Total Heating Airflow Rate (CFM) | Heating Airflow Rate per Area (CFM/ft²) | Total Cooling Airflow Rate (CFM) | Cooling Airflow Rate per Area (CFM/ft²) | Chiller Efficiency (COP) | Boiler Efficiency (COP) | DX Cooling Efficiency (COP) | DX Heating Efficiency (HSPF) | Heat Pump Cooling Efficiency (COP) | Heat Pump Heating Efficiency (COP) | Total Fan Power (kW) | Total Pump Power (kW) | Service Hot Water Thermal Efficiency (COP) | Exterior Lighting (kW)
LEED Baseline | MSU Energy Model_LEED_0 - Baseline Design.SIM | 5/06/2026 21:42:44 | Baltimore MD TMY2 | 4A | 1342 | 648 | 32420600 | 122.1 | 32421000 | 0 |  |  |  | 11180000 | 0 |  |  | 4119000 |  | 2580000 | 0 | 7093000 | 0 |  |  | 2987000 | 3803000 | 275200 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1377388 | 5.19 | 0.042497 | 0 | [10 empty] | 6004.215 | 22.6211 | JAN 15 08:00 | 10824.753 | 40.7827 | JUL 24 13:00 | 4689846 | 17.6692 | 3 | 265425 | 265425 | 92288.58 | 92288.58 | 7945.14 | 8754.56 | 2730.95 | 1050.01 |  |  |  |  | 34.8339 | 38.337 | 37.0477 | 51.9874 | 37.7311 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.192 | 5.2083 | 0.062 |  | 0.047 |  | 0.027 | 0.079 | 0.435 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1876 | 1.1908 | 92.5148 | 92.2633 | 2.4803 | 2.4871 | 253316 | 0.95438 | 253316 | 0.95438 | 253316 | 0.95438 | 5 | 0.97992 |  |  |  |  | 329.33 | 228.131 | 1
LEED Baseline 90° | MSU Energy Model_LEED_90 - Baseline Design.SIM | 5/06/2026 22:41:19 | Baltimore MD TMY2 | 4A | 2220 | 709 | 32022500 | 120.6 | 32022000 | 0 |  |  |  | 9115000 | 0 |  |  | 4464000 |  | 2580000 | 0 | 7093000 | 0 |  |  | 4153000 | 3939000 | 290700 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1360474 | 5.13 | 0.042497 | 0 | [10 empty] | 3786.429 | 14.2655 | JAN 15 08:00 | 10987.026 | 41.3941 | JUL 24 13:00 | 4827222 | 18.1868 | 9 | 265425 | 265425 | 92288.63 | 92288.63 | 14581.71 | 4598.75 | 8754.56 | 2730.95 |  |  |  |  | 34.8338 | 31.9644 | 38.0066 | 37.0477 | 51.9874 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.192 | 5.2083 | 0.062 |  | 0.047 |  | 0.027 | 0.079 | 0.435 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1876 | 1.1908 | 92.5148 | 92.2633 | 2.4803 | 2.4871 | 250322 | 0.9431 | 250322 | 0.9431 | 250322 | 0.9431 | 5 | 0.97992 |  |  |  |  | 455.341 | 234.066 | 1
LEED Baseline 180° | MSU Energy Model_LEED_180 - Baseline Design.SIM | 5/06/2026 22:49:58 | Baltimore MD TMY2 | 4A | 2178 | 743 | 32152800 | 121.1 | 32153000 | 0 |  |  |  | 9174000 | 0 |  |  | 4491000 |  | 2580000 | 0 | 7093000 | 0 |  |  | 4184000 | 3950000 | 292800 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1366011 | 5.15 | 0.042497 | 0 | [10 empty] | 3815.047 | 14.3734 | JAN 15 08:00 | 11146.494 | 41.9949 | JUL 24 13:00 | 4325164 | 16.2952 | 2/26 | 265425 | 265425 | 92288.71 | 92288.71 | 3880.08 | 1050.01 | 4598.75 | 8754.56 |  |  |  |  | 34.8338 | 43.6669 | 37.7311 | 38.0066 | 37.0477 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.192 | 5.2083 | 0.062 |  | 0.047 |  | 0.027 | 0.079 | 0.435 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1876 | 1.1908 | 92.5148 | 92.2633 | 2.4803 | 2.4871 | 252037 | 0.94956 | 252037 | 0.94956 | 252037 | 0.94956 | 5 | 0.97992 |  |  |  |  | 457.761 | 234.757 | 1
LEED Baseline 270° | MSU Energy Model_LEED_270 - Baseline Design.SIM | 5/06/2026 22:55:46 | Baltimore MD TMY2 | 4A | 2243 | 683 | 32104300 | 121 | 32104000 | 0 |  |  |  | 9165000 | 0 |  |  | 4472000 |  | 2580000 | 0 | 7093000 | 0 |  |  | 4173000 | 3942000 | 291000 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1363952 | 5.14 | 0.042497 | 0 | [10 empty] | 3805.309 | 14.3367 | JAN 15 08:00 | 11004.142 | 41.4586 | JUL 24 13:00 | 4600541 | 17.3327 | 9 | 265425 | 265425 | 92288.66 | 92288.66 | 19140.12 | 2730.95 | 1050.01 | 4598.75 |  |  |  |  | 34.8338 | 33.8004 | 51.9874 | 37.7311 | 38.0066 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.192 | 5.2083 | 0.062 |  | 0.047 |  | 0.027 | 0.079 | 0.435 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1876 | 1.1908 | 92.5148 | 92.2633 | 2.4803 | 2.4871 | 250419 | 0.94346 | 250419 | 0.94346 | 250419 | 0.94346 | 5 | 0.97992 |  |  |  |  | 455.808 | 234.139 | 1
Compliance Baseline | MSU Energy Model_Compliance_0 - Baseline Design.SIM | 5/06/2026 14:56:30 | Baltimore MD TMY2 | 4A | 1339 | 512 | 38537700 | 145.2 | 38538000 | 0 |  |  |  | 10470000 | 0 |  |  | 5864000 |  | 2487000 | 0 | 7093000 | 0 |  |  | 7695000 | 4204000 | 335200 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1637275 | 6.17 | 0.042497 | 0 | [10 empty] | 5948.294 | 22.4105 | JAN 15 08:00 | 13320.469 | 50.1854 | JUL 24 10:00 | 4906833 | 18.4867 | 10/19 | 265425 | 265425 | 92288.58 | 92288.58 | 7945.14 | 8754.56 | 2730.95 | 1050.01 |  |  |  |  | 34.8339 | 38.337 | 37.0477 | 51.9874 | 37.7311 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.267 | 3.7453 | 0.118 |  | 0.061 |  | 0.027 | 0.105 | 0.487 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1446 | 1.1578 | 92.5148 | 91.4634 | 2.4803 | 2.5088 | 256283 | 0.96556 | 256283 | 0.96556 | 256283 | 0.96556 | 4.4053 | 0.97992 |  |  |  |  | 919.249 | 247.535 | 1
Compliance 90° | MSU Energy Model_Compliance_90 - Baseline Design.SIM | 5/06/2026 13:25:42 | Baltimore MD TMY2 | 4A | 1373 | 576 | 38144500 | 143.7 | 38144000 | 0 |  |  |  | 10350000 | 0 |  |  | 5776000 |  | 2487000 | 0 | 7093000 | 0 |  |  | 7549000 | 4170000 | 330000 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1620569 | 6.11 | 0.042497 | 0 | [10 empty] | 5844.589 | 22.0197 | JAN 15 08:00 | 12902.2 | 48.6096 | JUL 24 10:00 | 4905025 | 18.4799 | 7/15 | 265425 | 265425 | 92288.63 | 92288.63 | 14581.71 | 4598.75 | 8754.56 | 2730.95 |  |  |  |  | 34.8338 | 31.9644 | 38.0066 | 37.0477 | 51.9874 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.267 | 3.7453 | 0.118 |  | 0.061 |  | 0.027 | 0.105 | 0.487 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1446 | 1.1578 | 92.5148 | 91.4634 | 2.4803 | 2.5088 | 252492 | 0.95127 | 252492 | 0.95127 | 252492 | 0.95127 | 4.4053 | 0.97992 |  |  |  |  | 905.917 | 245.693 | 1
Compliance 180° | MSU Energy Model_Compliance_180 - Baseline Design.SIM | 5/06/2026 13:30:28 | Baltimore MD TMY2 | 4A | 1317 | 589 | 38361100 | 144.5 | 38361000 | 0 |  |  |  | 10450000 | 0 |  |  | 5817000 |  | 2487000 | 0 | 7093000 | 0 |  |  | 7611000 | 4186000 | 332800 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1629770 | 6.14 | 0.042497 | 0 | [10 empty] | 5929.956 | 22.3414 | JAN 15 08:00 | 13278.192 | 50.0262 | JUL 24 10:00 | 4757815 | 17.9253 | 5 | 265425 | 265425 | 92288.71 | 92288.71 | 3880.08 | 1050.01 | 4598.75 | 8754.56 |  |  |  |  | 34.8338 | 43.6669 | 37.7311 | 38.0066 | 37.0477 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.267 | 3.7453 | 0.118 |  | 0.061 |  | 0.027 | 0.105 | 0.487 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1446 | 1.1578 | 92.5148 | 91.4634 | 2.4803 | 2.5088 | 254822 | 0.96005 | 254822 | 0.96005 | 254822 | 0.96005 | 4.4053 | 0.97992 |  |  |  |  | 912.296 | 246.713 | 1
Compliance 270° | MSU Energy Model_Compliance_270 - Baseline Design.SIM | 5/06/2026 13:34:11 | Baltimore MD TMY2 | 4A | 1304 | 561 | 38271800 | 144.2 | 38272000 | 0 |  |  |  | 10420000 | 0 |  |  | 5791000 |  | 2487000 | 0 | 7093000 | 0 |  |  | 7591000 | 4174000 | 330700 |  |  | 387700 | 0 |  |  | 0 | [8 empty] | 1625978 | 6.13 | 0.042497 | 0 | [10 empty] | 5857.743 | 22.0693 | JAN 15 08:00 | 12950.179 | 48.7904 | JUL 24 10:00 | 4911153 | 18.503 | 7/15 | 265425 | 265425 | 92288.66 | 92288.66 | 19140.12 | 2730.95 | 1050.01 | 4598.75 |  |  |  |  | 34.8338 | 33.8004 | 51.9874 | 37.7311 | 38.0066 | 274038.78 | 0.79589 | 0.3477 | 1.0325 | 1.3802 | [8 empty] | 0.267 | 3.7453 | 0.118 |  | 0.061 |  | 0.027 | 0.105 | 0.487 | 0.878 | 0.9 | 1.0251 | 0.039158 | 1.1446 | 1.1578 | 92.5148 | 91.4634 | 2.4803 | 2.5088 | 252774 | 0.95234 | 252774 | 0.95234 | 252774 | 0.95234 | 4.4053 | 0.97992 |  |  |  |  | 907.65 | 245.853 | 1

## Sheet2
Option | Results Path | Timestamp | Climate File | Climate Zone | Heating Unmet Hours | Cooling Unmet Hours | Total Energy Use (kBtu) | Energy Use Intensity (kBtu/ft²) | Electricity (kBtu) | Gas (kBtu) | Additional Fuel (kBtu) | District Cooling (kBtu) | District Heating (kBtu) | Heating - Electricity Energy Use (kBtu) | Heating - Gas Energy Use (kBtu) | Heating - Additonal Fuel Energy Use (kBtu) | Heating - District Heating Energy Use (kBtu) | Cooling - Electricity Energy Use (kBtu) | Cooling - District Energy Use (kBtu) | Interior Lighting - Electricity Energy Use (kBtu) | Exterior Lighting - Electricity Energy Use (kBtu) | Interior Equipment - Electricity Energy Use (kBtu) | Interior Equipment - Gas Energy Use (kBtu) | Interior Equipment - Additional Fuel Energy Use (kBtu) | Exterior Equipment - Energy Use (kBtu) | Fans - Electricity Energy Use (kBtu) | Pumps - Electricity Energy Use (kBtu) | Heat Rejection - Electricity Energy Use (kBtu) | Humidification - Electricity Energy Use (kBtu) | Heat Recovery - Electricity Energy Use (kBtu) | Water Systems - Electricity Energy Use (kBtu) | Water Systems - Gas Energy Use (kBtu) | Water Systems - Additional Fuel Energy Use (kBtu) | Water Systems - District Heating Energy Use (kBtu) | Refrigeration - Electricity Energy Use (kBtu) | Generators Electricity Energy Use (kBtu) | Misc 1 - Electricity Energy Use (kBtu) | Misc 2 - Electricity Energy Use (kBtu) | Total Water Use (kGal) | Water Use Intensity (kGal/ft²) | Heat Rejection - Water Use (kGal) | Humidificatopn - Water Use (kGal) | Water System - Water Use (kGal) | Total Energy Cost ($) | Energy Cost Intensity ($/ft²) | Electricity Virtual Rate ($/kBtu) | Gas Virtual Rate ($/kBtu) | Additional Fuel Virtual Rate ($/kBtu) | District Cooling Virtual Rate ($/kBtu) | District Heating Virtual Rate ($/kBtu) | Total Carbon Emissions (kg CO2e) | Carbon Emission Intensity (kg CO2e/ft²) | Electricity Virtual Rate (kg CO2e/kBtu) | Gas Virtual Rate (kg CO2e/kBtu) | Additional Fuel Virtual Rate (kg CO2e/kBtu) | District Cooling Virtual Rate (kg CO2e/kBtu) | District Heating Virtual Rate (kg CO2e/kBtu) | Peak Heating (kBtuh) | Peak Heating (Btuh/ft²) | Peak Heating Hour | Peak Cooling (kBtuh) | Peak Cooling (Btuh/ft²) | Peak Cooling Hour | Peak Electrical Load (W) | Peak Electrical Load Intensity (W/ft²) | Peak Electricity Hour | Conditioned Floor Area (ft²) | Total Floor Area (ft²) | Gross Wall Area (ft²) | Above Ground Gross Wall Area (ft²) | Above Ground North Wall Area (ft²) | Above Ground East Wall Area (ft²) | Above Ground South Wall Area (ft²) | Above Ground East Wall Area (ft²) | North WWR Nominal (%) | East WWR Nominal (%) | South WWR Nominal (%) | West WWR Nominal (%) | Building WWR Actual (%) | North WWR Actual (%) | East WWR Actual (%) | South WWR Actual (%) | West WWR Actual (%) | Gross Roof Area (ft²) | Skylight Roof Ratio (%) | Exterior Wall to Floor Area Ratio | Exterior Roof to Floor Area Ratio | Exterior Envelope to Floor Area Ratio | North Shading Type | North Shading Ratio (%) | West Shading Type | West Shading Ratio (%) | South Shading Type | South Shading Ratio (%) | East Shading Type | East Shading Ratio (%) | Vertical Weighted U-Value (Btu/h·ft²·F) | Vertical Weighted R-Value (ft²·h·F/Btu ) | Wall U-Value (Btu/h·ft²·F) | Wall 2 U-Value (Btu/h·ft²·F) | Roof U-Value (Btu/h·ft²·F) | Exposed Floor U-Value (Btu/h·ft²·F) | Slab on Grade U-Value (Btu/h·ft²·F) | Assembly U-Value (Btu/h·ft²·F) | Glass U-Value (Btu/h·ft²·F) | Glass SHGC | Glass VLT | Glass LSG | Infiltration Rate (CFM/ft² facade) | Lighting Power Density (W/ft²) | Conditioned Lighting Power Density (W/ft²) | Occupant Density (ft²/person) | Conditioned Occupant Density (ft²/person) | Equipment Power Density (W/ft²) | Conditioned Equipment Power Density (W/ft²) | Total Ventilation Air Flow Rate (CFM) | Ventilation Air Flow Rate per Area (CFM/ft²) | Total Heating Airflow Rate (CFM) | Heating Airflow Rate per Area (CFM/ft²) | Total Cooling Airflow Rate (CFM) | Cooling Airflow Rate per Area (CFM/ft²) | Chiller Efficiency (COP) | Boiler Efficiency (COP) | DX Cooling Efficiency (COP) | DX Heating Efficiency (HSPF) | Heat Pump Cooling Efficiency (COP) | Heat Pump Heating Efficiency (COP) | Total Fan Power (kW) | Total Pump Power (kW) | Service Hot Water Thermal Efficiency (COP) | Exterior Lighting (kW)
Proposed Design | MSU Energy Model_Proposed - Baseline Design.SIM | 5/06/2026 21:15:46 | Baltimore MD TMY2 | 4A | 1076 | 659 | 25583100 | 96.1 | 25583000 | 0 |  |  |  | 1397000 | 0 |  |  | 3678000 |  | 1758000 | 0 | 7104000 | 0 |  |  | 10080000 | 1066000 | 0 |  |  | 495500 | 0 |  |  | 0 | [8 empty] | 1086897 | 4.08 | 0.042497 | 0 | [10 empty] | 4816.227 | 18.0963 | JAN 20 08:00 | 12468.677 | 46.8494 | JUL 24 10:00 | 3048247 | 11.4534 | 7/24 | 265425 | 265425 | 92069.74 | 92069.74 | 7945.14 | 8754.56 | 2730.95 | 1050.01 |  |  |  |  | 34.5323 | 36.1931 | 37.0477 | 51.9874 | 37.7311 | 274024.41 | 0.79593 | 0.34594 | 1.0296 | 1.3755 | [8 empty] | 0.236 | 4.2373 | 0.054 |  | 0.042 |  | 0.027 | 0.086 | 0.52625 | 0.40783 | 0.51715 | 1.2681 | 0.03906 | 0.8073 | 0.82043 | 92.8625 | 91.3762 | 2.4728 | 2.513 | 344150 | 1.2931 | 344150 | 1.2931 | 344150 | 1.2931 | 2.7953 | 0.97743 |  |  |  |  | 1090.289 | 504.648 | 1